M.C. Associates

1055 Shore Rd

5/18/10

Private Accessway Review

Completeness Checklist Sec. 19-7-9(D)(3)

_Y_	a.	Application form showing owner's name, map/lot, ownership

_Y_	b.	Location map

_Y_	c.	Plan prepared by registered Land Surveyor with maintenance note

_Y_	(1)	Property boundaries

_P_	(2)	Sewage disposal, utilities, location and names of existing streets

_Y_	(3)	Intersecting driveways

_Y_	(4)	Drainage courses , floodways, wetlands, trees, natural features

_P_	(5)	Surface water drainage

_Y_	(6)	Easements, deed restrictions, covenants

_Y_	(7)	Fire hydrant/fire protection systems

_P_	(8)	Proposed utilities

_Y_	(9)	Building envelope

_Y_	d.	Maintenance Agreement