MEMORANDUM

TO:	Cape Elizabeth Planning Board

FROM:	Maureen O’Meara, Town Planner

DATE:	May 18, 2010

SUBJECT:	1055 Shore Rd Private Accessway Permit/Resource Protection 			Permit

Introduction

MC Associates is requesting a Private Accessway Permit and Resource Protection Permit for a lot located at 1055 Shore Rd. The application will be reviewed for compliance with Sec. 19-7-9, Private Accessway Permit, and Sec. 19-8-3, Resource Protection Permit.

Procedure

•The Board should begin by having the applicant introduce the project.

•The Board should then make a finding of completeness. If the application is deemed incomplete, Board members should identify the information needed to make the application complete and no substantive discussion of the application should occur. [Do not proceed further] If the application is deemed complete, substantive review may begin.

•The Board should decide if a public hearing and/or additional site walk will be scheduled.

•The Board may begin discussion at any time.

•At the close of discussion, the Board has the option to approve, approve with conditions, table or deny the application

Summary of Completeness

The comments of the Town Engineer and the completeness checklists are attached. Below is a summary of possible incomplete items:

Private Accessway Permit

(2)	The applicant has submitted test pits for a septic system but not a completed HHE-200 form that shows the design of the septic system.

(5)	Additional information needed on surface water drainage has been identified by the Town Engineer. The Conservation Commission has also requested drainage arrows indicating direction of flow.

(8)	There is no information on the location of the drinking water well and hydrogeologic information on the suitability of the site for a well. The applicant may want to opt for connection to the public water supply, in which case information on the size of the water line in Shore Rd and the capacity of the Portland Water District to provide for the needs of a single family home should be provided.

Resource Protection Permit

2.	The applicant should request a waiver from providing 1’ contours of the wetland area. Two foot contours have been provided.

6.	No soils map has been provided. The applicant has provided a Wetland Delineation Report from geologist Mark Cenci that identifies the wetland as a forested, RP2 wetland.

8.	Flow direction of water arrows have not been provided.

11.	The submission includes information on the need to remove ledge to obtain sight distance, but the location of the ledge removal is not shown on the plans.

Motions for the Board to Consider

A.	Motion for Completeness

BE IT ORDERED that, based on the plans and materials submitted and the facts presented, the application of MC Associates for a Private Accessway Permit and a Resource Protection Permit for a lot located a 1055 Shore Rd be deemed (complete/incomplete).

B.	Motion for Tabling/Public Hearing

BE IT ORDERED that, based on the plans and materials submitted and the facts presented, the application of MC Associates for a Private Accessway Permit and a Resource Protection Permit for a lot located a 1055 Shore Rd be tabled to the regular June 15, 2010 meeting of the Planning Board, at which time a public hearing will be held.