MEMORANDUM

TO:	Cape Elizabeth Planning Board

FROM:	Maureen O’Meara, Town Planner

DATE:	July 20, 2010

SUBJECT:	Portland Water District S. Cape Pump Station Upgrade

# Introduction

The Portland Water District is requesting a Resource Protection Permit to construct upgrades required by the Maine DEP at the Southern Cape Pump Station located on Spurwink Ave. The application will be reviewed for compliance with Sec. 19-8-3, Resource Protection Regulations.

## Procedure

•The Board may want to begin by having the applicant summarize the project.

•The Board should make a finding of completeness. If the application is deemed incomplete, Board members should identify the information needed to make the application complete, no substantive discussion of the project should occur and no further action on the project should be taken. If the application is deemed complete, the Board may begin review of the project.

•The Board should decide if a site walk will be scheduled.

•The Board should open the public hearing, which has been advertised for this evening.

•At the close of discussion, the Board has the option to approve, approve with conditions, deny or table the application.

## Summary of Completeness

The completeness checklist and the comments of the Town Engineer are attached.

No items appear to be incomplete, although the applicant has requested waivers from providing information regarding soils and vegetation information needed to delineate the wetland boundary and stormwater runoff plan. Detailed wetland mapping may not be necessary because even if the proposed improvements are located in an RP1 wetland, they are permitted uses with a permit from the Planning Board.

Resource Protection Permit Standards (Sec.19-8-3(B))

Below is a summary of the Resource Protection Permit standards of review and how they may be met.

1.	Flow of surface/subsurface waters

No obstruction of surface or subsurface waters is proposed.

2.	Impound surface waters

No alteration of existing surface water flows is proposed.

3.	Increase surface waters

The Town Engineer has confirmed that the small increase in impervious surface will not generate a large enough increase in stormwater flows to be modeled.

4.	Damage to spawning grounds

No spawning grounds have been identified in the construction area. The proposed improvements are confined to the area already developed for the treatment plant.

5.	Support of structures

The additional structures are located immediately adjacent to existing structures that have not experienced support problems.

6.	Aquifer recharge/groundwater

No reduction in aquifer or groundwater recharge is proposed.

7.	Coastal dunes

No work in coastal dunes or back dune areas is proposed.

8.	Ecological/aesthetic values

Most of the proposed improvements are underground or project only 1-2’ above ground.

9.	Wetland Buffer

No buffer additional buffer is proposed.

10.	Erosion Control

The applicant has submitted an Erosion Control plan.

11.	Wastewater discharge

No discharge of wastewater is proposed as part of the project scope as the purpose of the project is to improve operation of the treatment plant.

12.	Floodplain Management

The project is partially located in the 100 year floodplain and will require review by the Code Enforcement Officer under the Floodplain Ordinance (Sec. 6-6 of the Construction Code).

## Motions for the Board to Consider

### A.	Motion for Completeness

BE IT ORDERED that, based on the plans and materials submitted and the facts presented, the application of the Portland Water District for a Resource Protection Permit to construct upgrades required by the Maine DEP at the Southern Cape Pump Station located on Spurwink Ave be deemed (complete/incomplete).

B.	Motion for Approval

Findings of Fact

1.	The Portland Water District is proposing upgrades required by the Maine DEP at the Southern Cape Pump Station located on Spurwink Ave, which require review under Sec. 19-8-3, Resource Protection Permit.

2.	The Town Engineer is recommending revisions to the plans.

3.	The application substantially complies with Sec. 19-8-3, Resource Protection Regulations.

THEREFORE, BE IT ORDERED that, based on the plans and materials submitted and the facts presented, the application of the Portland Water District for a Resource Protection Permit to construct upgrades required by the Maine DEP at the Southern Cape Pump Station located on Spurwink Ave be approved, subject to the following conditions:

1.	That the plans be revised per the Town Engineer’s letter dated July 13, 2010;

2.	That the applicant obtain any required state or federal permits prior to commencement of construction and

3.	That there be no alteration of the site or issuance of a building permit until the above conditions have been met.