Replace Inherently Inefficient Boilers at the High School.

Description

- Boilers are oversized by a factor of 2 resulting in excessive losses and energy consumption.

- Boilers are past design service life by 25 years.

- Maintenance costs are several times greater than new boiler maintenance costs.

- Potential for loss of heating system during winter could result in extended  school closure and high repair costs

- Replacement boiler will have dual fuel capabilities (oil/natural gas)

Costs									$285,000

Benefits

- Annual Savings (Cost Avoidance)				$40,670

- Simple Payback						7.0  years

- Reduce carbon footprint					413 tons/year

- Fuel flexibility, if gas pipeline gets extended

- Reduced reliance  on foreign oil

Risks

- Price escalation if delayed

- No other significant risks identified

Consequences of Status Quo

- Continue to pay excess annual costs due to inefficient system

- Risk of untimely system failure resulting in closure of school and excessive repair costs

- Oil price increases results in greater losses

- Savings/Payback analysis based on $2.45/gal

Implement Identified Energy Conservation Measures in School and Municipal Buildings

Description

- Upgrade 20 year old building automation system in schools

- Install occupancy and CO2 sensors through all facilities

- Improve HVAC motor efficiencies with variable frequency drives (VFD)

- Improve wall and ceiling insulation in  various buildings

Costs									$290,675

Benefits

- Annual Savings (Cost Avoidance)				$50,578

- Simple Payback						5.7  years

- Reduce carbon footprint					206 tons/year

- Improved building comfort

- Reduced reliance  on foreign oil

Risks

- Price escalation if delayed

- No other significant risks identified

Consequences of Status Quo

- Continue to pay excess annual costs due to building heat losses

- Oil price increases results in greater losses

- Savings/Payback analysis based on $2.45/gal

Extend Natural Gas Pipeline to Town Center

Description

- Existing gas main would need to be extended one mile to town center from intersection of Ocean House and State Avenue

- Preliminary talks ongoing between Town and Unitil about extending line

- Natural gas unit energy costs lower than oil and forecasted to remain lower

- Boiler maintenance costs are lower with gas than oil

- Emissions are lower with natural gas than oil

- Replacement boiler will have dual fuel capabilities (oil/natural gas)

Costs							Unitil is estimating project cost

Benefits

- Annual Savings (Cost Avoidance)				$TBD

- Simple Payback						$TBD

- Reduce carbon footprint					xx tons/year

- Reduced reliance  on foreign oil

- Possibility to serve other customers including municipal, commercial and residential, lowering pipeline cost burden to Town

- Reduce over-the-road deliveries of oil and propane

Risks

- Pipeline construction cost is not firm at this point

- Future fuel costs are unpredictable

- Management of public perception

Consequences of Status Quo

- Continue to pay high and unpredictable costs for fuel oil

- Oil price increases results in greater losses

- Greater environmental harm from burning oil

- Lose competitive benefit of multiple fuel choices

- Savings/Payback analysis based on $2.45/gal

Longer Range Alternatives.

Summary

The alternatives described below are deserving of further analysis to determine technical, economic and environment viability.  The committee proposes to continue to assess these and other options

Description

Biomass boilers - wood chips or pellet fired boilers at school and/or municipal building.

Cogeneration - generating useful electrical and thermal energy from single fuel source.

Geothermal - utilize constant ground water temperature for heating.

Solar Thermal - capture solar radiation for heating.

Solar Photovoltaic (PV) - capture solar radiation for electricity production.

Waste water ground source heat pump - utilize constant waste water temperature from waste water treatment plant for heating.

Wind Turbine - converts kinetic energy from wind to electricity (measurements currently underway).

Compressed Natural Gas (CNG) vehicles - utilize CNG to fuel municipal and/or school vehicles as alternate fuel source